## Chapter8
Training & Validation Dataset | Identification Number | Testing datasets | Matching Number
According to the definition of sampling efficiency, sampling efficiency for particles may vary widely. Is this true for gaseous contaminants? | 1 | What is isokinetic sampling ? How important of isokinatic sampling in Indoor Air Quality domain? | 4, 5, 6
Sampling velocity is defined as the air velocity at the face of a sampling head. Why is the definition not the sampling velocity in the sampling tube or another portion of the instrumentation? | 2 | What is anisokinetic sampling ? Why do we have to avoid this mechanism? | 0
Does sampling efficiency mean the accuracy of the instrumentation measuring the contaminant concentration? | 3 | What is superisokinetic sampling? Why do we have to avoid this mechanism? | 0
Why is isokinetic sampling the most important concept in airborne particle sampling? | 4 | What is subisokinetic sampling ? Why do we have to avoid this mechanism? | 0
Isokinetic sampling is the most important concept in airborne particle sampling. Is it equally important for gas sampling? | 5 | What is the requirements for a free-stream velocity (U0) and a gas velocity (U) in a probe to meet isokinetic sampling ? | 0
Why should isokinetic sampling be exercised whenever possible, even though a misalignment arrangement can compensate for sampling efficiency? | 6 | To meet the isokinetic sampling condition, what is the relationship between the flow rate in a duct (Q0) and probe (Qs) and diameters of a duct (D0) and a proble (Ds)? | 0
What are the important variables affecting sampling efficiency? | 7 | What are the two sources of errors associating with particle sampling in still air? | 14
Does calm air apply to all room conditions or all samplers? | 8 | In some situation, the aerosol stream was diluted with a clean air stream to reduce the transportation losses. Explain? | 0
What parameters affect the criteria for calm air? | 9 | What kind of transport losses of aerosol sampling if the flow in a tube is laminar ? | 0
If a sampler diameter does not satisfy the calm air criteria, is there any way to compensate for the sampling error | 10 | What kind of transport losses of aerosol sampling if the flow in a tube is turbulent ? | 0
Once calm-air criteria are established and the free flow is considered calm air, is the sampling efficiency always 100%, regardless of the sampler diameter or orientation? | 11 | What is the different between direct measurement and indirect measurement of particle mass concentration? Give simple examples for indoor PM2.5 mass concentration measurements | 0
In the design of a sampler head in calm-air sampling, there is a particle size at which the maximum equals the minimum of the sampler head diameter. For particles larger than that particle size, the calculated minimum sampler diameter will be larger than the maximum diameter. What criteria should be used under this circumstance? | 12 | Why should the filter for direct measurement of particle mass concentration be low tare weight? | 0
There is no sampling efficiency analysis (equation) for calm-air sampling. Does that mean calm air sampling has no sampling efficiency concern? | 13 | For air comtaminant sampling in indoor settings, why do diaphragm-type pump prefer to rotary-vanes pumps? | 0
If there are sampling efficiency concerns for calm-air sampling, what are they? | 14 | Why are Cellulose ester filter membrane filters commonly used for particle number concentration measurement with a optical microsope? | 0
Why is it recommended that the total number of sampling points be higher than the number of subannulars in a circular duct sampling? | 15 | Liquid impinger can be utilized for sampling and then measuring the particle number concentration, explain the mechanism of this method? | 0
If a long tube is used to connect the sampling head and the analytical instrument for the air sample, what factors should be considered for the gas of concern? | 16 | Do electrostatic and thermopheric depositions contribute to transport losses during particle sampling? What do factors influence these two depositon mechanism? | 0
If a long tube is used to connect the sampling head and the analytical instrument for the air sample, what factors should be considered for the particle of concern? | 17 | List of all possible mechanism of transport losses during sampling airborne particles? | 0
|  | For paricle sampling, what happen when the probe is properly aligned but the probe inlet velocity exceeds the stream velocity? | 0
|  | For paricle sampling, what happen if the velocity entering the probe is less than that passing by the proble? Assuming that the probe is properly aligned. | 0
|  | Is there any reason for the fact that a misalignment (between a probe and a gas streamline) of 15 degree produces a small errors in measured concentration for all particle sizes during sampling process? | 0